## Slide 1: Building 100G DTNs Hurts My Head!
Kevin Hildebrand
HPC Architect
University of Maryland – Division of IT

## Slide 2: The Goal(s)
Build a bare metal data transfer node capable of receiving and sending 100 gigabit data stream to and from local flash (NVMe) storage
Be able to provide virtual machines able to provide similar performance

## Slide 3: The Hardware
Two Dell Poweredge R940 servers
Each with a single Mellanox ConnectX-5 100Gbit interface
Each with eight Samsung PM1725a 1.6TB NVMe flash drives
Servers have PCIe Gen 4
Intel Platinum 8158, 3.00GHz quad CPU, 48 cores total
384GB RAM per server

## Slide 4: The Headache Begins
PERC H740P (PERC 10) driver issues (megaraid_sas)
Not included as part of RedHat 7.4 image
Available as a driver update
How do I make this work with XCAT?
XCAT provides “osdistroupdate” definition

## Slide 5: The Headache Continues
Mellanox ConnectX-5 not fully supported by RedHat drivers
Need to install MOFED 4.1
Lustre 2.8 doesn’t build with MOFED 4.1
Ok, so go with Lustre 2.10.1
Lustre 2.10.1 router doesn’t work with Lustre 2.8 client
Ok, so go with Lustre 2.9
Happy. Or so it appears.

## Slide 6: No Aspirin in Sight
First bandwidth tests reveal node-to-node performance of less than 20Gbits/sec
Apply tuning parameters as recommended by ESnet
Eliminate switch, performance is actually worse with direct connection
SR-IOV is the culprit
Must have iommu=pt in addition to intel_iommu=on if you want to use the NIC for full bandwidth on the host
Iperf3 doesn’t appear to work well for 100Gbps interfaces
Iperf2 and fdt both show results around 98.5Gbps. Awesome!

## Slide 7: Two Steps Forward…
Bandwidth tests now satisfactory. Let’s play with the NVMe drives!
I/O tests to one drive show reasonable performance, 2GB/sec sequential write, 3GB/sec sequential read. Great!
Combine drives together into MD raid 0 array, put ext4 filesystem on top, test again.
Array of eight drives shows 2GB/sec sequential write. Ouch!
Originally doing tests with dd, test again with fio, and get similar results.

## Slide 8: …and three steps back
Remove ext4 filesystem, and do tests to bare array, no better.
But wait, what about CPU locality, PCI lanes, NUMA zones?
R940 server attaches all of the NVMe drives to NUMA zone 3
Each drive is x4, each drive has full bandwidth to CPU (PCIe Gen 4, Skylake has plenty of lanes available)
Do experiments with numactl, binding to zone 3, performance is somewhat better
Able to get reasonable bandwidth (13-14GBps) with direct mode IO
Real world applications (Gridftp, fdt) still poor performance

## Slide 9: Still Hurting…
Gridftp tests abysmal, 1GB/sec
Globus connect (free version) limits concurrency to 2
Trial access for managed endpoint increased concurrency to 8
Now able to get around 2.2GB/sec
Fdt tests yield similar results

## Slide 10: …and Searching for the Cure
Open ticket with RedHat- “you’re seeing the performance we expect, MD raid writes to drives in round robin mode”
Working with Dell Labs
Wandering the floor at SC
Possible cure from a handful of new companies such as Excelero, which promise true parallel writes to NVMe

## Slide 11: Questions, Comments, Tylenol?
Contact information:
Kevin Hildebrand
kevin@umd.edu
Thanks!